## Slide 1: Iterative reconstruction in low dose CT with Artificial Neural Network
By, Harshitha Govindaraju
Instructor : Dr. Nada N. Boustany
Course : Bioimaging Methods

## Slide 2: Overview
Background
Introduction
  Basic Concept
  Algebraic derivation
Classification
  SIRT
  Other Recon Methods
Advantages
Disadvantages
Image Reconstruction with Deep Learning

## Slide 3: Background
Concept proposed during 1970s
Mathematically demanding
Large Amount of data
Gordon, R; Bender, R; Herman, GT (December 1970). "Algebraic reconstruction techniques (ART) for three-dimensional electron microscopy and x-ray photography". Journal of Theoretical Biology. 29 (3): 471–81. doi:10.1016/0022-5193(70)90109-8. PMID 5492997.

## Slide 4: Classification
  Filtered Back Projection
    Convolution
    Radon’s Method
    Fourier Filtering
  2D, 3D Fourier Recon
Analytical Methods
  Algebraic Reconstruction Technique (ART)
  Simultaneous Iterative Reconstruction Technique (SIRT)
  Simultaneous Algebraic Reconstruction Technique (SART)
  Iterative Least Square Tech(ILST)
Iterative Methods

## Slide 5: Basic Concept – Algebraic Reconstruction
- Volume Vector
- Projection Data Vector
- Weighting Factor (projection matrix)
A. C. Kak and Malcolm Slaney, Principles of Computerized Tomographic Imaging, IEEE Press, 1988.
Practical images : 256 X 256
N can be as large as 65,536
Contrast developed by -map projection

## Slide 6: Concept
1
1
- Weighted Projection difference
- Weighted Backprojection
- Update
A. C. Kak and Malcolm Slaney, Principles of Computerized Tomographic Imaging, IEEE Press, 1988.

## Slide 7: SIRT
Weighted Projection Difference
Weighted backprojection Difference
Update
Forward Projection

## Slide 8: SIRT
Weighted Projection Difference
Weighted Backprojection Difference
Update
Forward Projection

## Slide 9
Weighted Projection Difference
Weighted Backprojection Difference
Update
Forward Projection

## Slide 10: Other Algebraic Reconstruction Methods
ART – updates only a single measurement with iteration
SART – updates all measurements of a single projection in each iteration

## Slide 11: Advantages
Reduced noise with no impact on spatial or contrast resolution
Optimal reconstruction with limited data
Can overcome problems when projection data are not distributed uniformly in angles
1. Iterative Reconstruction in CT: What Does It Do? How Can I Use It? William P. Shuman, MD, FACR, FSCBTMR, FSCCT University of Washington School of Medicine, Seattle, WA
(a) FBP | (b)IR
Image noise expressed as the standard deviation of the attenuation (HU) | 

## Slide 12: Advantages
Reduction in patient radiation dose
Lower radiation exposure
Enhanced visual image quality
Artifact Suppression
A. FBP with metallic artifacts caused by dental hardware | B. Reduction in metallic artifacts with IR algorithm
2. Nance, J.W., Schoepf, U.J. & Ebersberger, U. The Role of Iterative Reconstruction Techniques in Cardiovascular CT. Curr Radiol Rep 1, 255–268 (2013). https://doi.org/10.1007/s40134-013-0023-y

## Slide 13: Disadvantages
Practical implementations are complex and expensive
Prolonged reconstruction time
Blotchier image reconstruction
Unseen Pathologies?
(b) Missing Lung fissure with low dose IR
(a) FBP with higher dose
Iterative Reconstruction - Does it Work to Reduce Noise Without Messing up the Images? Sarabjeet Singh, Lecturer of Radiology, Harvard Medical School, Massachusetts General Hospital, Boston, MA, 2114

## Slide 14: Neural Network
Input Layer
Hidden Layers
Output Layer
ResNet
Autoencoder
  Neural network is used to map the data to a latent space that follows a certain distribution
  Reconstructs the data from the latent space
  Directional wavelet
U-NET
FBP based residual network

## Slide 15: Reconstruction with CNN

## Slide 16: Conclusion
Advantage over other reconstruction methods
Highly accepted
Scope
Can be applied to other imaging modality
GE | Philips | Siemens | Toshiba | MedicVision | MGH
ASIR | iDOSE | IRIS | AIDR | SafeCT | MBAI
MBIR/VEO | IMRS |  |  |  | 

## Slide 17: FIN Questions?